## Table_17f
NORTHERN IRELAND WATER LIMITED - ANNUAL INFORMATION RETURN					NORTHERN IRELAND WATER LIMITED - ANNUAL INFORMATION RETURN					NORTHERN IRELAND WATER LIMITED - ANNUAL INFORMATION RETURN

ANNUAL INFORMATION RETURN - TABLE 17f SEWERAGE EXPLANATORY FACTORS					ANNUAL INFORMATION RETURN - TABLE 17f SEWERAGE EXPLANATORY FACTORS					ANNUAL INFORMATION RETURN - TABLE 17f SEWERAGE EXPLANATORY FACTORS
SEWAGE TREATMENT WORKS - COSTS (NIW Only)					SEWAGE TREATMENT WORKS - COSTS (PPP only)					SEWAGE TREATMENT WORKS - COSTS (Total)
				1	2	3	4	5	6	7	8	9	10	11					1	2	3	4	5	6	7	8	9	10	11					1	2	3	4	5	6	7	8	9	10	11
	DESCRIPTION	UNITS	DP		TREATMENT CATEGORY					TOTAL					DESCRIPTION	UNITS	DP		TREATMENT CATEGORY					TOTAL					DESCRIPTION	UNITS	DP		TREATMENT CATEGORY					TOTAL
				SECONDARY		TERTIARY				SEA OUTFALLS					SECONDARY		TERTIARY				SEA OUTFALLS					SECONDARY		TERTIARY				SEA OUTFALLS
				PRIMARY	ACTIVATED / SLUDGE	BIOLOGICAL	A1	A2	B1	B2	PRELIMINARY / TREATMENT	SCREENED	UNSCREENED					PRIMARY	ACTIVATED / SLUDGE	BIOLOGICAL	A1	A2	B1	B2	PRELIMINARY / TREATMENT	SCREENED	UNSCREENED					PRIMARY	ACTIVATED / SLUDGE	BIOLOGICAL	A1	A2	B1	B2	PRELIMINARY / TREATMENT	SCREENED	UNSCREENED

A	SMALL WORKS					A	SMALL WORKS					A	SMALL WORKS
1	Direct costs of STWs in size band 1	£000	3		52.827	65.121	492.501	0.000	0.000	18.111	14.057	0.000	0.000	3.671	646.287					1	Direct costs of STWs in size band 1	£000	3		0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000					1	Direct costs of STWs in size band 1	£000	3		52.827	65.121	492.501	0.000	0.000	18.111	14.057	0.000	0.000	3.671	646.287
2	Direct costs of STWs in size band 2	£000	3		0.000	50.975	237.458	31.897	14.938	99.028	56.105	0.000	23.320	0.000	513.721					2	Direct costs of STWs in size band 2	£000	3		0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000					2	Direct costs of STWs in size band 2	£000	3		0.000	50.975	237.458	31.897	14.938	99.028	56.105	0.000	23.320	0.000	513.721
3	Direct costs of STWs in size band 3	£000	3		16.478	545.464	971.461	150.235	465.943	317.531	256.157	80.150	0.000	8.942	2,812.361					3	Direct costs of STWs in size band 3	£000	3		0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000					3	Direct costs of STWs in size band 3	£000	3		16.478	545.464	971.461	150.235	465.943	317.531	256.157	80.150	0.000	8.942	2,812.361
4	Direct costs of STWs in size band 4	£000	3		27.135	897.658	275.665	38.583	1,664.633	52.502	172.193	87.363	5.722	0.000	3,221.454					4	Direct costs of STWs in size band 4	£000	3		0.000	0.000	0.000	42.802	0.000	0.000	0.000	0.000	0.000	0.000	42.802					4	Direct costs of STWs in size band 4	£000	3		27.135	897.658	275.665	81.385	1,664.633	52.502	172.193	87.363	5.722	0.000	3,264.256
5	Direct costs of STWs in size band 5	£000	3		0.000	683.058	0.000	300.252	1,460.980	0.000	165.143	0.000	0.000	0.000	2,609.433					5	Direct costs of STWs in size band 5	£000	3		0.000	0.000	0.000	0.000	125.855	0.000	0.000	0.000	0.000	0.000	125.855					5	Direct costs of STWs in size band 5	£000	3		0.000	683.058	0.000	300.252	1,586.835	0.000	165.143	0.000	0.000	0.000	2,735.288

B	LARGE WORKS					B	LARGE WORKS					B	LARGE WORKS
6	Direct costs of STWs in size band 6	£000	3		0.000	1,122.679	0.000	0.000	5,210.129	0.000	0.000	0.000	0.000	0.000	6,332.808					6	Direct costs of STWs in size band 6	£000	3		0.000	0.000	0.000	0.000	2,111.089	0.000	0.000	0.000	0.000	0.000	2,111.089					6	Direct costs of STWs in size band 6	£000	3		0.000	1,122.679	0.000	0.000	7,321.218	0.000	0.000	0.000	0.000	0.000	8,443.897

C	ALL WORKS					C	ALL WORKS					C	ALL WORKS
7	Total direct costs of STWs - all sizes	£000	3		96.441	3,364.955	1,977.085	520.966	8,816.624	487.171	663.655	167.513	29.042	12.612	16,136.064					7	Total direct costs of STWs - all sizes	£000	3		0.000	0.000	0.000	42.802	2,236.944	0.000	0.000	0.000	0.000	0.000	2,279.746					7	Total direct costs of STWs - all sizes	£000	3		96.441	3,364.955	1,977.085	563.768	11,053.568	487.171	663.655	167.513	29.042	12.612	18,415.810
8	Sludge Treatment and Disposal Adjustments	£000	3		0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000					8	Sludge Treatment and Disposal Adjustments	£000	3		0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000					8	Sludge Treatment and Disposal Adjustments	£000	3		0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000
9	Sewage Treatment: Direct costs	£000	3		96.441	3,364.955	1,977.085	520.966	8,816.624	487.171	663.655	167.513	29.042	12.612	16,136.064					9	Sewage Treatment: Direct costs	£000	3		0.000	0.000	0.000	42.802	2,236.944	0.000	0.000	0.000	0.000	0.000	2,279.746					9	Sewage Treatment: Direct costs	£000	3		96.441	3,364.955	1,977.085	563.768	11,053.568	487.171	663.655	167.513	29.042	12.612	18,415.810
10	Sewage Treatment: Power costs	£000	3		6.363	1,791.205	553.455	267.493	4,980.003	86.083	252.231	71.210	1.280	0.305	8,009.627					10	Sewage Treatment: Power costs	£000	3		0.000	0.000	0.000	42.802	2,236.944	0.000	0.000	0.000	0.000	0.000	2,279.746					10	Sewage Treatment: Power costs	£000	3		6.363	1,791.205	553.455	310.295	7,216.947	86.083	252.231	71.210	1.280	0.305	10,289.373
11	Sewage Treatment: service charges	£000	3		8.560	150.326	143.688	24.161	338.252	38.793	41.395	9.805	2.703	1.071	758.755					11	Sewage Treatment: service charges	£000	3		0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000	0.000					11	Sewage Treatment: service charges	£000	3		8.560	150.326	143.688	24.161	338.252	38.793	41.395	9.805	2.703	1.071	758.755
12	Sewage Treatment: General and Support	£000	3		149.237	2,620.966	2,505.235	421.257	5,889.308	676.364	721.735	179.144	47.127	18.665	13,229.037					12	Sewage Treatment: General and Support (NIW)	£000	3		0.000	31.580	0.000	24.757	99.028	0.000	0.000	0.000	0.000	0.000	155.365					12	Sewage Treatment: General and Support	£000	3		149.237	2,652.546	2,505.235	446.014	5,988.336	676.364	721.735	179.144	47.127	18.665	13,384.402
13	Sewage Treatment: Functional Expenditure	£000	3		245.677	5,985.921	4,482.319	942.223	14,705.932	1,163.536	1,385.391	346.657	76.169	31.277	29,365.101					13	Sewage Treatment: Functional Expenditure	£000	3		0.000	31.580	0.000	67.559	2,335.972	0.000	0.000	0.000	0.000	0.000	2,435.111					13	Sewage Treatment: Functional Expenditure	£000	3		245.677	6,017.501	4,482.319	1,009.782	17,041.904	1,163.536	1,385.391	346.657	76.169	31.277	31,800.212

## 'http://istream/PBU/Business%20Support/Business%20Unit/CIM/2010-11%20Q1%20CIM%20Template/Q1%20CIM%20Template%20-%20Regulator.xls'#Lists
01
02
03
04
05
06
07
08
09
10
11
12
13
14

00
01
02
03
04
05
06
07
08
09
10
11
12

15
16
17
18
19
20
21

	2010-11_Q1
	2010-11_Q2
	2010-11_Q3
	2010-11_Q4
	2011-12_Q1
	2011-12_Q2
	2011-12_Q3
	2011-12_Q4
	2012-13_Q1
	2012-13_Q2
	2012-13_Q3
	2012-13_Q4

DWI
NIEA
DRD
UR